DNA Fingerprinting Lab

To be done in advance:

- Hydrolyze reagents

  - Suspect’s DNA: 200l each

  - Enzyme mix: 750l

- Determine amounts of reagents needed per group (compared to what we have in each vial)

- Preheated HindIII ladder (65C for 5 minutes, then chill on ice)

- Prep lab stations

  - Labeled tubes with DNA (10l, 12 tubes total, 5x2 suspect’s DNA, 1x2 crime scene) (KEEP ON ICE!)

  - Aliquot restricted enzyme mix (65l) (KEEP ON ICE!)

  - Aliquot sample loading dye (65l)

  - Aliquot agarose (1.25g) *optional*

  - Aliquot HindIII ladder (20l) (KEEP ON ICE!)

  - Ice bucket

  - Micropipettes

  - Micropipette tips

  - Waste container

  - Test tube holder

  - Marker

Day 1:

- Restriction Enzyme Digested DNA

  - Add 10l of enzyme mix to each undigested DNA sample. (5 suspects’ and 1 crime scene’s DNA)

  - Mix each tube by flicking

  - Allow to incubate in room temperature water bath overnight. (alternatively heat at 37C for 45 minutes)

- Prepare TAE buffer

  - Students will dilute 50x TAE buffer to create 500ml of 1x solution.

Day 2:

- Pour agarose gels (make 2 per group)

  - Student will measure out enough agarose to create a 60ml 1% agarose solution.

  - Pour 60ml of 1x TAE buffer into 125ml flask.

  - Add the measured agarose to the flask.

  - Teacher will assist with heating solution in microwave and adding EthBr. (WILL BE VERY HOT!)

  - Setup gel boxes as instructed. (black wedges correctly positioned)

  - Carefully pour 30ml of heated agarose into each gel box containing a gel comb.

  - Allow gels to cool and solidify for 30 minutes.

- Agarose Electrophoresis

  - Tap centrifuge tubes on table to collect digested and undigested DNA samples and HindIII ladder at bottom of tube.

  - Set up gel box as instructed. (gel with wells towards black terminal)

  - Add enough TAE buffer to gel box to just cover gel.

  - Using a micropipette add 5l of loading dye to each undigested and digested DNA sample. (CHANGE TIPS BETWEEN EACH SAMPLE!!!!)

  - Add 4ml of loading dye to the HindIII ladder.

  - Add 10l of preheated HindIII DNA ladder to the first well in each gel box. (CHANGE TIPS BETWEEN EACH SAMPLE!!!!)

  - Load 15l of the 6 undigested DNA samples (with loading dye added) to the next 6 wells in the first gel box. (CHANGE TIPS BETWEEN EACH SAMPLE!!!!)

  - Add 20l of the 6 digested DNA sample (with loading dye added) to the next 6 wells in the second gel box. (CHANGE TIPS BETWEEN EACH SAMPLE!!!!)

  - Place top on gel box aligning colored terminals.

  - Turn power supplies ON for both gel boxes. Samples will run towards red terminal.

  - Allow both to run at 200V for 30-40 minutes.

  - Turn both power supplies OFF.

  - Observe DNA bands under UV lamp in dark room.

- Data collection

  - Observe banding patterns for each sample

  - Compare suspect DNA banding patterns to crime scene DNA banding patterns

  - Determine which suspect was at the crime scene