Emergency Eyewash Station

Weekly Inspection Checklist

# How to Inspect & Test:

- Is the area around the station clear of obstructions?

- Is the eyewash clean and free of dirt/debris?

- Flush eyewash for 30 seconds weekly

- Do the covers/caps open without assistance?

- Is the plumbing free from leakage?

- Are the jets working properly (both spigots are delivering evenly, and with sufficient but not too great of a flow)?

- Is the water clean and clear?

# How to Obtain Assistance:

## Questions, maintenance, training

EHS: 302-831-8475 | dehsafety@udel.edu

## Maintenance

requests may also be called in directly

Facilities Services: 302-831-1141

## Emergencies:

Hold eyes open and flush for at least 15 minutes. CALL 911 and seek medical assistance

| Date | Initials | Comment |  | Date | Initials | Comment |
| --- | --- | --- | --- | --- | --- | --- |